## Slide 1
UV / VISIBLE SPECTROSCOPY
Dr. A. Mushira Banu
Assistant Professor of Chemistry
Jamal Mohamed College
Trichy - 20

## Slide 2
Principles of
Spectroscopy

## Slide 3
Principles of Spectroscopy
•
The principle is based on the measurement of
spectrum
a
of
sample containing atoms /
molecules.
•
Spectrum is a graph of intensity of absorbed or
emitted
radiation by sample verses frequency
(ν) or wavelength (λ).
Spectrometer
instrument
is an
design to
measure the spectrum of a compound.

## Slide 4
Principles of Spectroscopy
1.
Absorption Spectroscopy:
An analytical
with
technique which concerns
the
of
of
measurement
absorption
electromagnetic radiation.
•
-
e.g. UV (185
400 nm) / Visible (400 - 800 nm)
Spectroscopy, IR Spectroscopy (0.76
-
15 μm)

## Slide 5
Principles of Spectroscopy
2.
Emission Spectroscopy:
An
in which emission
technique
analytical
(of
radiation) is
a particle or
dispersed
according to some property of the emission
& the amount of dispersion is measured.
e.g. Mass Spectroscopy

## Slide 6
with
Interaction of
EMR
Matter

## Slide 7
Interaction of EMR with matter
1. Electronic Energy Levels:
•
At room temperature the molecules are in the
lowest energy levels E0.
When
the molecules absorb UV-visible light
from
EMR, one of the outermost bond / lone
pair electron
is
promoted to higher energy
state
as
called
etc is
as
such
E1,
E2,
...En,
electronic transition and the difference is as:
∆E =
...
1, 2, 3,
h ν = En - E0 where (n =
etc)
∆E =
35 to 71 kcal/mole

## Slide 8
Interaction of EMR with matter
2.
Vibrational Energy Levels:
These
electronic
are less
energy level than
energy levels.
•
are
levels
between energy
The spacing
relatively small i.e. 0.01 to 10 kcal/mole.
•
e.g. when IR radiation is absorbed, molecules
are excited from one
level to
vibrational
another or it vibrates with higher amplitude.

## Slide 9
Interaction of EMR with matter
3.
Rotational Energy Levels:
These energy levels are quantized & discrete.
•
levels are even
The spacing between energy
smaller than vibrational energy levels.
∆Erotational <
∆Evibrational < ∆Eelectronic